## Requirement list
COVID19 Equipment Spare Part and accessory requirement list
Addis Ababa Tegbare-id Polytechnic College Biomedical Technology Department, 2020
Asset Number | Equipment Name | Hospital name | Manufacturer | Model | Serial Number | Status | Remark
[7 empty] | Sparespare needed (with part number) | Firmwara version (if part replacemet is needed) | Acessory needed
AH001 | Patient Monitor System | Alert | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E001121 | FNA | EMS module | 3.0.5-BN | See accessory detail sheet
AH002 | Patient Monitor System | Alert | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E003152 | FNA | EMS module | 3.0.9-BJ | See accessory detail sheet
AH003 | Patient Monitor System | Alert | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E002516 | FNA | EMS module | 3.0.7-BP | See accessory detail sheet
AH004 | Patient Monitor System | Alert | Contec Medical Systems Co.,Ltd | Contec (CM59200) | 19050700008 | FNA | NA | 7.50311162148.66818.2 | See accessory detail sheet
AH005 | Patient Monitor System | Alert | Beijing Aeonmed co.,Ltd | Caredo F2 | Caredo F2YUYY409 | NF.NS&A | Screen Power Adapter | null | See accessory detail sheet
AH006 | Patient Monitor System | Alert | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | MEC1000 | AQ-23168825 | MNA | NA | null | See accessory detail sheet
AH007 | Patient Monitor System | Alert | Contec Medical Systems Co.,Ltd | CMS8000 | 18052100004 | FNA | NA | 2.50311162128.66818.1.1 | See accessory detail sheet
AH008 | Patient Monitor System | Alert | Contec Medical Systems Co.,Ltd | CMS8000 | 18052100005 | FNA | NA | 2.50311162128.66818.1.1 | See accessory detail sheet
AH009 | Patient Monitor System | Alert | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A0275002X68 | FNA | CO2 module | 3.0.7-BP | See accessory detail sheet
AH010 | Patient Monitor System | Alert | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E001236 | FNA | NA | 3.0.5-BN | See accessory detail sheet
AH011 | Patient Monitor System | Alert | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | MEC-1000 | AQ-23168824 | FNA | NA | 02.04.00 | See accessory detail sheet
AH012 | Vital Sign Monitor | Alert | Guangdong Biolight Meditech co.,Ltd | V6 | V026E005384 | FNA | NA | 1.1.9 | See accessory detail sheet
AH013 | Vital Sign Monitor | Alert | Guangdong Biolight Meditech co.,Ltd | V6 | V026E005612 | FNA | NA | 1.1.9 | See accessory detail sheet
AH014 | Vital Sign Monitor | Alert | Guangdong Biolight Meditech co.,Ltd | V6 | V026E005556 | MNA | NA | 1.1.9 | See accessory detail sheet
AH015 | Defibrillator | Alert | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | Bene Heart D3 | EL-53019542 | FNA | NA | null | See accessory detail sheet
AH016 | Elecrocardiogarm | Alert | York Scientific Industries Pvt.Ltd | YORCO | 14TST-133 | FNA | NA | 1.44 | See accessory detail sheet
RDH001 | Patient Monitor System | Ras desta | MEKICS Co.,LTD | MP1000NTPLUS | NTP-10K-0548 | MNA | NA | null | See accessory detail sheet
RDH002 | Patient Monitor System | Ras desta | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | IMEC10 | EX-58027502 | NF.NS&A | Screen | null | See accessory detail sheet
RDH003 | Patient Monitor System | Ras desta | Xuzhou yongkang Electronic science technology co.,Ltd | YK-8000C | 80003160515688 | FNA | NA | V2.1 | See accessory detail sheet
RDH004 | Elecrocardiogarm | Ras desta | SCHILLERAG ALTGASSE68 CH-6341 BAAR SWITZERLAND | CARDIOVIT AT-102/SCHILLERAT-102 | 070-11962 | MNA | NA | V1.02CM | See accessory detail sheet
RDH005 | Elecrocardiogarm | Ras desta | SCHILLERAG ALTGASSE68 CH-6341 BAAR SWITZERLAND | CARDIOVIT AT-102/SCHILLERAT-102 | 070-11968 | FNA | NA | V1.02CM | See accessory detail sheet
RDH006 | Patient Monitor System | Ras desta | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E002531 | NF.NS&A | Power Supply board Touch screen board EMS module | null | See accessory detail sheet
RDH007 | Patient Monitor System | Ras desta | Xuzhou yongkang Electronic science technology co.,Ltd | YK-8000C | 80003160515600 | FNA | NA | V2.1 | See accessory detail sheet
RDH008 | Patient Monitor System | Ras desta | Xuzhou yongkang Electronic science technology co.,Ltd | YK-8000C | 80003160515694 | FNA | NA | V2.1 | See accessory detail sheet
RDH009 | Patient Monitor System | Ras desta | MEKICS Co.,LTD | MP-1000NT PLUS | NTP-10K-0549 | MNA | NA | null | See accessory detail sheet
ZMH001 | Patient Monitor System | Zewditu | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E0031447 | MNA | NA | 3.0.7-BP | See accessory detail sheet
ZMH002 | Patient Monitor System | Zewditu | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E002445 | MNA | NA | 3.0.7-BP | See accessory detail sheet
ZMH003 | Patient Monitor System | Zewditu | SCHILLERAG ALTGASSE68 CH-6341 BAAR SWITZERLAND | SCHILLERAG/ARGUS LCX | 790-00572 | FNA | NA | null | See accessory detail sheet
ZMH004 | Patient Monitor System | Zewditu | NIHON ROHDEN CORPORATION | NIHON ROHDEN | 2181 | NF.NS&A | Backlight board | null | See accessory detail sheet
HGH001 | Oxygen Concentrator | Haramaya | YUYUE | 7F-5 | null | NF.NS&A | Sieve bed/ zeolite granules Flow meter Filter | NA | Humidifier Filters
HGH002 | Patient Monitor System | Haramaya | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E004268 | MNA | SpO2 appereance connector | 3.0.9-BU | See accessory detail sheet
HGH003 | Patient Monitor System | Haramaya | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E004091 | MNA | NA | 3.0.9-BU | See accessory detail sheet
HGH004 | Oxygen Concentrator | Haramaya | Devilbiss Healthcare LLC | DEVILIBISS, REF 525KS | J765342KS | NF.NS&A | Sieve bed/ Zeolite granules | NA | Humidifier Filters
WGZHO 001 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | Flow meter Filter Caster | NA | Filters
WGZHO 002 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | NA | NA | Humidifier Filters
WGZHO 003 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | NF.NS&A | Check valve | NA | Humidifier Filters
WGZHO 004 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | Flow meter | NA | Filters
WGZHO 005 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | NF.NS&A | Sieve bed/ zeolite Flow meter Power cable (1.5m, 220V) | NA | Humidifier Filters
WGZHO 006 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | NA | NA | Humidifier Filters
WGZHO 007 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | Flow meter Power cable (1.5m, 220v) | NA | Humidifier Filters
WGZHO 008 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | Flow meter | NA | Filters
WGZHO 009 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | NF.NS&A | Pressure regulator Flow meter | NA | Filters
WGZHO 010 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | NF.NS&A | Sieve bed/ Zeolight Flow meter | NA | Filters
WGZHO 011 | Oxygen Concentrator | West Guji ZHO | YUYUE | 7F-5 | null | MNA | Flow meter Side cover | NA | Humidifier Filters
WGZHO 012 | Oxygen Concentrator | West Guji ZHO | AIRYEP Corporation | Newlife Lite | N5080712 | MNA | Powerr cable (1.5 m, 220v) Battery (9v) | NA | Humidifier Filters
WGZHO 013 | Oxygen Concentrator | West Guji ZHO | Devilbiss Healthcare LLC | DEVILIBISS, REF 525KS | J712807KS | NF.NS&A | Sieve bed/ Zeolight Fuse (80mA, 220v AC) Power cable (1.5 m, 220V) | NA | Humidifier Filters
WGZHO 014 | Oxygen Concentrator | West Guji ZHO | Jiangsu Folee Medical Equipment co., Ltd | Y007-5 | 20160901-34 | NF.NS&A | Four way valve Caster (x2) | NA | Humidifier Filters
WGZHO 015 | Patient Monitor System | West Guji ZHO | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | PM-9000 | W-34109985 | MNA | NA | 03.05.00 | See accessory detail sheet
WGZHO 016 | Pulse Oxymeters | West Guji ZHO | Nellcor Purifan Bennet Inc | NELLCOR OXIMAN N-600X | G12802965 | NF.NS&A | Fuse (2.5A, 220V AC) | null | SPO2 probe
WGZHO 017 | Pulse Oxymeters | West Guji ZHO | Masimo Corporation | Rad-5 | N139633 | FNA | Battery AA(1.5 V)x4 | null | SPO2 probe
WGZHO 018 | Pulse Oxymeters | West Guji ZHO | Masimo Corporation | Rad-5 | N116020 | FNA | Battery (1.5 V)x4 | null | SPO2 probe
WGZHO 019 | Pulse Oxymeters | West Guji ZHO | Guangdong Biolight Meditech co.,Ltd | M800 | M017E029101 | MNA | Battery AA(1.5 V)x3 | null | SPO2 probe
WGZHO 020 | Pulse Oxymeters (Hand held) | West Guji ZHO | Shenehen creative industry. Co.,Ltd | PC-66B | null | FNA | Battery AA(1.5 V)x3 | null | SPO2 probe
TBGH 001 | Oxygen Concentrator | Tulu Bolo | YUYUE | 7F-5 | null | MNA | Flow meter Caster (x4) | NA | Humidifier Filters
TBGH 002 | Oxygen Concentrator | Tulu Bolo | YUYUE | 7F-5 | null | MNA | Caster (x4) | NA | Humidifier Filters
TBGH 003 | Patient Monitor system | Tulu Bolo | Beijing Aeonmed co.,Ltd | Caredo F2 | Caredo F2YUYY163 | NF.NS&A | Main board (PN:FY0808A601) Screen (PN: 27R2474) | null | See accessory detail sheet
TBGH 004 | Patient Monitor System | Tulu Bolo | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E004111 | NF.NS&A | Power supply board (PN: 16-100-0052) EMS module CO2 module | null | See accessory detail sheet
GMGH 001 | Patient Monitor System | Gara Muleta | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E004261 | MNA | NA | 3.0.7-BP | See accessory detail sheet
RDGH-001 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Flow meter | NA | Filters
RDGH-002 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Caster (x4) Power coard (1.5m, 220v) | NA | Humidifier Filters
RDGH-003 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Flow meter | NA | Filters
RDGH-004 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | NA | NA | Filters
RDGH-005 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Power coard (1.5 m, 220v) Caster (x4) | NA | Filters
RDGH-006 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Flow meter Caster (x4) Power cord (1.5m, 220v) | NA | Filters
RDGH-007 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | BR | NA | NA | NA
RDGH-008 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | BR | NA | NA | NA
RDGH-009 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | BR | NA | NA | NA
RDGH-010 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | NF.NS&A | Check valve Pressure regulator Sieve bed/ Zeolight Flow meter | NA | Humidifier Filters
RDGH-011 | Oxygen Concentrator | Robe Dida | YUYUE | 7F-5 | null | MNA | Flow meter Caster (x3) Power coard (1.5 m, 220v) | NA | Humidifier Filters
RDGH-012 | Oxygen Concentrator | Robe Dida | SHENYANG CANTA MEDICAL TECH CO.,LTD | V5-W-NS | 2245015120211 | MNA | Flow meter Power cable (1.5m, 220v) Caster (x2) | NA | Humidifier Filters
RDGH-013 | Pulse oxymeters | Robe Dida | MEKICS Co.,LTD | SCHILLERAG/ARGUS OXM | 11S-12F-0221 | NF.NS&A | Power adapter (850mA, 12VDC) | null | SPO2 probe
RDGH-014 | Pulse oxymeters | Robe Dida | MEKICS Co.,LTD | SCHILLERAG/ARGUS OXM | 11S-12F-0221 | NF.NS&A | Power adapter (850mA, 12VDC) | null | SPO2 probe
RDGH-015 | Pulse oxymeters | Robe Dida | Contec Medical Systems Co.,Ltd | CMS560C | null | NF.NS&A | Power adapter | null | SPO2 probe
SNNPR HB 001 | Patient Monitor System | SNNPR Health Bureau | Beijing Aeonmed co.,Ltd | Caredo F2 | caredo F2YTYZ046 | BR | NA | NA | NA
SNNPR HB 002 | Patient Monitor System | SNNPR Health Bureau | Beijing Aeonmed co.,Ltd | Caredo F2 | caredo F2YUYY162 | FNA | NA | V2.9.5.0 | See accessory detail sheet
SNNPR HB 003 | Patient Monitor System | SNNPR Health Bureau | Beijing Aeonmed co.,Ltd | Caredo F2 | Caredo F2YTZD20 | NF.NS&A | Screen Power Adapter | null | See accessory detail sheet
SNNPR HB 004 | Patient Monitor System | SNNPR Health Bureau | Beijing Aeonmed co.,Ltd | Caredo F2 | Caredo F2YTYZ036 | BR | NA | null | See accessory detail sheet
SNNPR HB 005 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E003374 | FNA | EMS module | 3.0.9-BJ | See accessory detail sheet
SNNPR HB 006 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E002207 | BR | NA |  | See accessory detail sheet
SNNPR HB 007 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E003261 | MNA | EMS module CO2 module | 3.0.9-BJ | See accessory detail sheet
SNNPR HB 008 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E001320 | NF.NS&A | Power supply unit EMS module CO2 module | null | See accessory detail sheet
SNNPR HB 009 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E001260 | MNA | EMS module CO2 module | 3.0.5-BN | See accessory detail sheet
SNNPR HB 010 | Patient Monitor System | SNNPR Health Bureau | Guangdong Biolight Meditech co.,Ltd | AnyView A8 | A027E002278 | MNA | EMS module | 3.0.7-BP | See accessory detail sheet
SNNPR HB 011 | Patient Monitor System | SNNPR Health Bureau | SHENZHEN MINDRAY BIO-MEDICAL ELECTRONICS CO.,LTD | Bene. View T8 | CF-29113113 | MNA | NA | V5.0/ 05.08.00 | See accessory detail sheet
SNNPR HB 012 | Patient Monitor System | SNNPR Health Bureau | Philips Mediznin Systeme | Philips M3 | DE. 00846650 | MNA | NA | null | See accessory detail sheet
SNNPR HB 013 | Fatal and Maternal Monitor | SNNPR Health Bureau | Shenzhen Comen medical instrument co.Ltd | STAR 5000C | KH190222009B | FNA | NA | V1.2.3 | See accessory detail sheet
SNNPR HB 014 | Patient Monitor System | SNNPR Health Bureau | Shenzhen Comen medical instrument co.Ltd | STAR 8000 | E7180726018B | NF.NS&A | Screen | Screen Damage | See accessory detail sheet
SNNPR HB 015 | Patient Monitor System | SNNPR Health Bureau | Shenzhen Comen medical instrument co.Ltd | STAR 8000 | E7180705023B | NF.NS&A | Screen, BP pump/motor | Screen Damage | See accessory detail sheet
SNNPR HB 016 | Patient Monitor System | SNNPR Health Bureau | Shenzhen Comen medical instrument co.Ltd | STAR 8000 | E7180705019B | NF.NS&A | Screen | null | See accessory detail sheet
SNNPR HB 017 | Fatal and Maternal Monitor | SNNPR Health Bureau | Shenzhen Comen medical instrument co.Ltd | STAR 5000C | KH190223035B | MNA | NA | V1.2.3 | See accessory detail sheet

## Accessory Detail
Accessories for Oxygen concentrator | Accessories for BLT Anyview A8 PMS | Accessories for Caredo F2 PMS | Accessories for Mindray (MEC1000) PMS | Accessories for Contec (CMS8000) PMS | Accessories for BLT V6 vital sign monitor
Filters - Gross particle/ course filter (foam) - HEPA/ Bacterial filter - Air inlet/compressor filters Humidifier - Humidifier bottel - Humidifier bottel adapter including tubes Nasal Oxygen cannula Mechanical spare parts - as described in the document | Sensors/ probes - Temperature probe -NIBP cuff (Adult, Pediatric, Neonate) -NIBP extension tube - SPO2 sensor - ECG cable - Microstream CO2 sensor - Main stream CO2 sensor and adapter Rechargeable lithium ion battery（host monitor） Consumable Conductive gel | Sensors/Probes - ECG cable - Reusable ECG electrodes -SPO2 probe -Temperature probe -NIBP cuff (Adult, Pediatric, Neonate) -NIBP extension tube - CO2 probe Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube - CO2 probe Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube Consumable Conductive gel | Sensors/ Probes -CO2 probe -SpO2 sensor (Adult, Pediatric, Neonate) Rechargeable Lithium ion battery
Accessories for Yongkang (YK-8000C) PMS | Accessories for Contec (CMS9200) PMS | Accessories for Comen (STAR 8000) PMS | Accessories forPhilips M3 PMS | Accessories for York (YORCO) ECG | Accessories for Mindray (IMEC10) PMS
Sensors/ probes - NIBP cuff (Adult, Pediatric, Neonate) - NIBP extension tube - SpO2 probe, - Temperature probe, - ECG patient cable with non-disposable lead/electrod Consumable Conductive gel | Sensors/Probes - ECG cable - Reusable ECG electrodes -SPO2 probe -Temperature probe -NIBP cuff (Adult, Pediatric, Neonate) -NIBP extension tube - CO2 probe Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube Consumable Conductive gel | Sensors/ Probes - Temperature probe -SpO2 sesor - ECG cable - Reusable ECG electrodes - NIBP cuff - NIBP extention tube - CO2 probe Consumable Conductive gel | Sensors -ECG cable - Reusable ECG electrodes Printing paper Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube - CO2 probe Consumable Conductive gel
Accessories for Schillerr (Argus LCX) PMS | Accessories for NICHO KOHDEN PMS | Accessories for Mindray PM-9000 PMS | Accessories for Schillerr (Cardiovitat-102) ECG | Accessories forMindray (Beneview T8) PMS
Sensors/ Probes - Temperature probe -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube - CO2 probe Consumable Conductive gel | Sensors/ probes - NIBP cuff (Adult, Pediatric, Neonate) - NIBP extension tube - SpO2 probe, - Temperature probe, - ECG patient cable with non-disposable lead/electrod Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes -NIBP cuff (Adult, Pediatric, Neonate) - NIBP extention tube - CO2 probe Consumable Conductive gel | Sensors -ECG cable - Reusable ECG electrodes Printing paper Consumable Conductive gel | Sensors/ Probes - Temperature probe (x2) -SpO2 sesor - ECG cable - Reusable ECG electrodes - NIBP cuff - NIBP extention tube - CO2 probe Consumable Conductive gel
Accessories for Mindray (Bene Heart D3) Diffibrilator | Accessories for Comen (STAR 5000C) FMM
ECG electrod Adult (PN: 0010-10-12304) Pediatric - 9000-10-07469 12-pin Trunk Cable Adult,pediatric - 0010-30-42719 Lead Sets 3-Electrod Lead Sets Clip - Adult,Pediatric - 0010-30-42725 pediatric - 0010-30-42732(long) Snap - Adult,pediatric - 0010-30-42733 pediatric - 0010-30-42901 5- Electrod Lead Sets Clip - Adult,Pediatric - 0010-30-42728 - 001030-42730(long) - 001030-42727 - 0010-30-42729(long) Snap - Adult.Pediatric - 001030-42736 - 0010-30-42735 Adapting Cable 12-pin to 6 pin connector Adult,pediatric,neonatal - 0010-30-43054 NIBP Accessories Tubing Reusable - Adult,pediatric - (PN:6200-30-09688) Cuff Reusable - infant - (PN:0010-30-12157) - pediatric - (PN:0010-30-12158) - adult - (PN:0010-30-12159) - large adult - (PN: 0010-30-12160) - Adult - Thigh -(PN: 0010-30-12161) Therapy Accessories External Paddles -Adult,Pediatric - (PN:0651-30-77001) Multifunction- electtrod Pads Adult - (PN: 0651-30-77007) Pediatric - (PN:0651-30-77008) Pads cable- Reusable - (PN:040-000545-00) Conductive gel- consumable - (PN:0000-10-10775) | Sensors/ Probes -FHR and TOCO probe -Belts - ECG patient cable - ECG reusable electrodes - NIBP blood pressure cuff - SpO2 sensor - Skin temperature sensor Ultrasound gel Printer paper

## Terms
Status Terms
F.NA = Functional (need accessory) M.NA =Maintained (need accessory) NF.NS&A = Nonfunctional(need spare part and accessory) BR = Beyond Repair (used as spare part) null= not available NA= not applicable PMS = Patient monitoring system ECG-= Electrocardiogram FMM-= Fetal and maternal monitor PN= Part Number